**有人工作**

Some People Working

|  |  |  |  |
| --- | --- | --- | --- |
| **专业 & PTW票号**  **Professional** | **工作负责人**  **Work leader** | | **联系电话**  **Contact Number** |
| Maintenance Electrical | ROMMEL | | +966 591960672 |
| **计划工作时间**  **Planned working hours** | | **内容**  **Job Content** | |
| 2024-5-01 08:00  To  2024-5-03 18:00 | | CABLE CONTINUITY TEST AND TERMINATION FOR 10HHA01GH100/101/102 CENTRALIZATION PANEL UPS CABLE IN BOILER1 13/17M TO LSB1 UPS ROOM 10BRA11/12 | |