**有人工作**

Some People Working

|  |  |  |  |
| --- | --- | --- | --- |
| **专业 & PTW票号**  **Professional** | **工作负责人**  **Work leader** | | **联系电话**  **Contact Number** |
| Maintenance Electrical | ROMMEL | | 0591960672 |
| **计划工作时间**  **Planned working hours** | | **内容**  **Job Content** | |
| 2024-4-08 08:00  To  2024-4-14 18:00 | | CABLE CONTINUITY AND IR CHECK FOR UNIT10 UPS CABLE FOR FLAME SCANNER CABINET FURNACE A/B WITH KKS 10HHA10GH001A/B(STG-1 3M SS ELECTRONIC ROOM) TO 10BRA11/12 （LSB-1 UPS ROOM) | |