## Table 1
|  |  | PACKAGE “P” POWER PLANT YANBU POWER AND DESALINATION PLANT-PHASE-III | [9 empty] | PTW No.:
LOTO Work Permit | [5 empty] | Site 现场:Yabu 3 |  |  | for Work工作 | √ | Expiry date of the permit许可过期 |  |  | Number编号
[6 empty] | Unit 机组: #4 |  |  | for Test试验 |  | Date / Time :
Permit Request许可申请
Date / Time 日期时间: |  |  | 2024-07-19 |  | Estimated duration 预计持续时间: 7 | [5 empty] | Companies 公司: sepco3 |  | NO. of workers数量: 3
Lead Authorized Employee (Name) 高级受权员工 |  |  |  |  | Deng Tao | [5 empty] | 0580816874 |  |  | JSA NO.: 风险分析编号 01
Execution responsible (Name) 执行负责人 |  |  |  |  | Ripon | [5 empty] | 0583459826
System / Equipement系统、设备 |  |  |  |  | Description of work to be carrierd out工作描述
ST #4 |  |  |  |  | UNIT#4 MV motor fill bearings with grease: Condensate Pump#1(40LCB11AP001) Condensate Pump#2(40LCB12AP001) Condensate Pump#3(40LCB13AP001) Closed Cooling Water Pump#1(40PGC01AP001) Closed Cooling Water Pump#2(40PGC02AP001) Closed Cooling Water Pump#3(40PGC03AP001)
Identification of dangers危险辨识 | [10 empty] | Validation of permit许可审批
Fluid液体 | [5 empty] | Pressure高压 |  |  |  |  | 0 | HSE Manager Approval HSE经理审批
Voltage电压 | [5 empty] | Chimical危化品 |  |  |  |  | Initials + Visa
Fire火灾 | [5 empty] | Mechanical机械
Explosion爆炸 | [5 empty] | Other其他 |  |  |  |  | JSA Valid
Identification of companies impacted by work受工作影响的单位 | [10 empty] | Permit | Confined S.
Hot Work
Company 公司 |  | Representant of the company (name) 公司负责人 |  | Function 职务 |  |  | Impacted : YES / NO 是否收到影响 |  | Visa签发 |  | 1 | Approval for beginning the LOTO process LOTO审批
[11 empty] | LOTO required是否需要隔离 |  | YES |  | NON
NA
Shift Supervisor 值长
If your activity is impacted, please list all the what lockout devices are required | [10 empty] | System Authorized Employee 系统受权工程师
Details of lockout devices and intructions隔离装置和要求
No | DEVICE OR EQUIPMENT ISOLATED被隔离的设备 |  |  |  |  | Required position 隔离位置 |  | Padlock No. 锁的号码 | Comments 备注 |  | 2 | LOTO applied by LOTO Officer LOTO 管理员落实隔离措施
LOTO Officer LOTO管理员
1 | 施工人员穿戴好PPE Site worker wear PPE
Person in charge of verification 验证人
2 | 至少两人一组工作，严禁单人单独作业 Forbidden work alone
[11 empty] | 3 | Permit reception by Execution responsible 工作负责人接受许可
3 | Do not touch irrelated equipment 禁止触碰无关设备 | [9 empty] | Date / Time
4 | Clean up the working site after work finish 工完料尽场地清 | [9 empty] | Name / Initials 姓名首字母
5 | Use well insulated tools only 使用绝缘良好的工器具 | [9 empty] | Visa 签发
6 | Forbidden to operate irrelevant equipment 禁止操作无关设备 | [9 empty] | 4 | Work completion declaration工作完成
Date / Time
7
Name / Initials 姓名首字母
Visa 签发
[11 empty] | 5 | Removal of LOTO devices authorization 申请移除隔离措施
Shift Supervisor 值长
System Authorized Employee 系统受权工程师
[11 empty] | 6 | Removal of LOTO devices done by LOTO Officer LOTO 管理员移除隔离措施
LOTO Officer LOTO管理员
PTW Renew date of the permit：PTW延期 | [5 empty] | Shift Supervisor ： |  |  | Date:
Date / Time : To | [10 empty] | 7 | Closure of permit by LOTO Administrator LOTO许可官关闭LOTO许可
Execution responsible change： To | [5 empty] | Lead Authorized Employee： |  |  | Date: |  | Initials
Page 1 of 1
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes