## Table 1
|  |  | PACKAGE “P” POWER PLANT YANBU POWER AND DESALINATION PLANT-PHASE-III | [10 empty] | PTW No.:
LOTO Work Permit | [5 empty] | Site 现场:Yabu 3 |  |  | for Work工作 |  | Expiry date of the permit许可过期 |  |  |  |  | Number编号
[6 empty] | Unit 机组: 1 |  |  | for Test试验 |  | Date / Time :
Permit Request许可申请
Date / Time 日期时间: |  |  | 2024-04-28 |  | Estimated duration 预计持续时间: 7 DAYS | [5 empty] | Companies 公司: sepco3 |  |  | NO. of workers数量: 3
Lead Authorized Employee (Name) 高级受权员工 | [15 empty] | JSA NO.: 风险分析编号 01
Execution responsible (Name) 执行负责人 |  |  |  |  | ROMMEL | [5 empty] | +966 59 196 0672
System / Equipement系统、设备 |  |  |  |  | Description of work to be carrierd out工作描述
LSB1 UPS ROOM 10BUA11 |  |  |  |  | NEW INTERFACE PANEL DC CABLE TERMINATION IN SPARE BREAKER (MCB-065A) IN 10BUA11 INCLUDING MAKING HOLE FOR CABLE ENTRY.
Identification of dangers危险辨识 | [10 empty] | Validation of permit许可审批
Fluid液体 |  |  No  Yes : |  |  |  | Pressure高压 |  |  No  Yes : |  |  | 0 | HSE Manager Approval HSE经理审批
Voltage电压 |  |  No  Yes : |  |  |  | Chimical危化品 |  |  No  Yes : |  |  | Initials + Visa |  | Day |  | Night
Fire火灾 |  |  No  Yes : |  |  |  | Mechanical机械 |  |  No  Yes :
Explosion爆炸 |  |  No  Yes : |  |  |  | Other其他 |  |  No  Yes : |  |  | JSA Valid |  |  Yes - n° |  |  YES - n°
Identification of companies impacted by work受工作影响的单位 | [10 empty] | Permit | Confined S. |  Yes - n° |  |  Yes - n°
[12 empty] | Hot Work |  Yes - n° |  |  Yes - n°
Company 公司 |  | Representant of the company (name) 公司负责人 |  | Function 职务 |  |  | Impacted : YES / NO 是否收到影响 |  | Visa签发 |  | 1 | Approval for beginning the LOTO process LOTO审批
[11 empty] | LOTO required是否需要隔离 |  |  |  YES |  |  |  NON
N/A
[11 empty] | Shift Supervisor 值长/单元长 |  | Initials | Date/Time |  |  | Visa
If your activity is impacted, please list all the what lockout devices are required | [10 empty] | System Authorized Employee 系统受权工程师 |  | Initials | Date/Time |  |  | Visa
Details of lockout devices and intructions隔离装置和要求
No | DEVICE OR EQUIPMENT ISOLATED被隔离的设备 |  |  |  |  | Required position 隔离位置 |  | Padlock No. 锁的号码 | Comments 备注 |  | 2 | LOTO applied by LOTO Officer LOTO 管理员落实隔离措施
[11 empty] | LOTO Officer LOTO管理员 |  | Initials | Date/Time |  |  | Visa
1 | 施工人员穿戴好PPE Site worker wear PPE
[11 empty] | Person in charge of verification 验证人 |  | Initials | Date/Time |  |  | Visa
2 | Forbidden work alone至少两人一组工作，严禁单人单独作业
[11 empty] | 3 | Permit reception by Execution responsible 工作负责人接受许可
3 | Do not touch irrelated equipment 禁止触碰无关设备 | [9 empty] | Date / Time |  | Day |  | Night
4 | 工完料尽场地清 Clean up the working site after work finish | [9 empty] | Name / Initials 姓名首字母 |  | Day |  | Night
5 | Relevant isolations will be operated by maintenance staff when work相关安措工作时由维护自理 | [9 empty] | Visa 签发 |  | Day |  | Night
6 | USE WELL INSULATED TOOLS ONLY | [9 empty] | 4 | Work completion declaration工作完成
[11 empty] | Date / Time |  | Day |  | Night
7 | WEAR SAFETY HARNESS WITH 100% TIE OFF DURING WORKS AT HEIGHTS
[11 empty] | Name / Initials 姓名首字母 |  | Day |  | Night
8 | SEAL THE ENTRY HOLE OF CABLE UNDER THE PANEL AFTER COMPLETION OF WORK
[11 empty] | Visa 签发 |  | Day |  | Night
[11 empty] | 5 | Removal of LOTO devices authorization 申请移除隔离措施
[11 empty] | Shift Supervisor 值长 |  | Initials | Date/Time |  |  | Visa
[11 empty] | System Authorized Employee 系统受权工程师 |  | Initials | Date/Time |  |  | Visa
[11 empty] | 6 | Removal of LOTO devices done by LOTO Officer LOTO 管理员移除隔离措施
[11 empty] | LOTO Officer LOTO管理员 |  | Initials | Date/Time |  |  | Visa
PTW Renew date of the permit：PTW延期 | [5 empty] | Shift Supervisor ： |  |  | Date:
Date / Time : To | [10 empty] | 7 | Closure of permit by LOTO Administrator LOTO许可官关闭LOTO许可
Execution responsible change： To | [5 empty] | Lead Authorized Employee： |  |  | Date: |  | Initials |  | Date / Time |  | Visa